POLITECNICO DI MILANO

DEPARTMENT OF ………………………

********

CONSOLIDATED DOCUMENT ON INTERFERENCE RISK ASSESSMENT AND PREVENTION MEASURES (DUVRI)

(Art. 26, paragraphs c. 1 b), c. 2 and c. 3 of Italian Legislative Decree 81/08)

APPENDIX TO CONTRACT Ref. no. XXXX of XX/XX20XX (or ORDER VOUCHER n. XXXX of XX/XX/20XX)

SUBJECT OF THE CONTRACT (OR ORDER VOUCHER OR ORDER LETTER): Work comprising ………. (or Supply and Installation of ………. or Service comprising ………. or Provision of Services) to be carried out at the XX Building, Room XX of the …………… Campus of the Politecnico di Milano – premises of the ……………………… Department, street address: ……………………………..

TERM OF THE CONTRACT:

********

| CLIENT |  |  |
| --- | --- | --- |
| Company Name | Politecnico di Milano |  |
| Registered Office | Piazza Leonardo Da Vinci 32, 20133, Milan, Italy |  |
| Premises to which the Contract relates | ………………… Campus - ……………. Department, street address: ………… – BX Building, Room BXXX |  |
| Contact Telephone Number | 022399……………… |  |
| Tax Code and VAT Number | Tax Code: 80057930150 VAT No.: 04376620151 |  |
| COMPANY REPRESENTATIVES FOR THE PURPOSES OF THE CONTRACT |  |  |
| Client Project Manager | Graziano Dragoni |  |
| Department Manager |  |  |
| Head of Laboratory Teaching and Research (RADRL) |  |  |
| COMPANY HEALTH AND SAFETY OFFICERS |  |  |
| POSITION |  | NAME |
| Project Manager |  | Graziano Dragoni |
| Department Manager / Executive |  |  |
| Health and Safety Officer (RSPP) |  | Claudio Corioni |
| Company Doctor |  | Corrado La Cavera |
| Workers’ Health and Safety Representative (RLS) |  | Gregorio Chiarenza, Virgilio Testa, Ivana Clemenza, Giorgio Iovino |
| Fire Officer |  |  |
| First Aid Officer |  |  |

****

| CONTRACTOR |  |
| --- | --- |
| Company Name |  |
| Registered Office |  |
| Contact Telephone Number |  |
| Tax Code and VAT No. |  |
| INAIL (Italian Workers’ Compensation Authority) Registration Number |  |
| INPS (Italian Social Security Institute) Registration Number |  |
| Insurance Status |  |
| National Collective Bargaining Agreement (CCNL) applied to workers |  |
| Project Manager |  |
| Legal Representative |  |
| Health and Safety Officer (RSPP) |  |
| Company Doctor |  |
| Workers’ Health and Safety Representative (RLS) |  |
| Fire Officer |  |
| First Aid Officer |  |
| SUB-CONTRACTOR |  |
| Company Name |  |
| Registered Office |  |
| Contact Telephone Number |  |
| Tax Code and VAT No. |  |
| INAIL (Italian Workers’ Compensation Authority) Registration Number |  |
| INPS (Italian Social Security Institute) Registration Number |  |
| Insurance Status |  |
| National Collective Bargaining Agreement (CCNL) applied to workers |  |
| Project Manager |  |
| Legal Representative |  |
| Health and Safety Officer (RSPP) |  |
| Company Doctor |  |
| Workers’ Health and Safety Representative (RLS) |  |
| Fire Officer |  |
| First Aid Officer |  |

This Document is attached to the Contract in question pursuant to Art. 26, paragraph c. 3, of Italian Legislative Decree 81/08 and subsequent amendments and integrations and constitutes an integral part thereof. Any violation or conduct in non-compliance with the content of this Document shall constitute breach of contract.

Fulfilment of the contract shall take place in full compliance with current rules and regulations governing safety, hygiene and accident prevention in the workplace.

The Contractor (Supplier or Service Provider) shall assume full responsibility with regard to observance of health and safety regulations.

********

INFORMATION ON WORKING AREAS

The Politecnico di Milano shall provide the Contractor (Supplier/Installer or Service Provider) with a list of the specific risks present in the environment in which the Contractor’s (Supplier/Installer’s or Service Provider’s) workers shall be operating together with the prevention and emergency measures adopted. The said list of risks is indicated in the section on “Risk Mapping”, which constitutes an integral part of this Document.

Working areas in which the contractual work (supply or service provision) shall take place:

Politecnico di Milano - …………… Campus BX Building, Room no. XXX, street address: ……………………

Politecnico di Milano - …………… Campus BX Building, Room no. XXX, street address: ……………………

Politecnico di Milano - …………… Campus BX Building, Room no. XXX, street address: ……………………

For floor plans of the working areas, please refer to APPENDIX 3 (Working Area Floor Plan).

Normal working hours during which Politecnico di Milano personnel and/or students are likely to be present are: 7am to 9pm.

The information on the risks associated with the working areas does not include the risks inherent in the Contractor's (Supplier's or Service Provider's) business and is intended to eliminate and hazards due to interference between the work conducted by the Contractor’s (Supplier’s or Service Provider’s) workers and the normal activities of University users and/or other companies present in areas governed by this DUVRI Document.

********

ELIMINATION OF INTERFERENCES

Below is a concise list of the University activities conducted in the working areas in which the contractual work (supply or service provision) shall take place.

A detailed list of the said activities and the measures necessary for elimination of interferences can be found in the Interference Map.

List of Interfering Activities:

| ACTIVITY NUMBER (Politecnico di Milano, Company A) | LIST OF INTERFERING ACTIVITIES PRESENT | BUILDING |
| --- | --- | --- |
| 1A |  |  |
| 2A |  |  |
| 3A |  |  |
| … |  |  |
| ACTIVITY NUMBER (Contractor, Company B) | LIST OF ACTIVITIES INTRODUCED | BUILDING |
| 1B |  |  |
| 2B |  |  |
| 3B |  |  |
| … |  |  |

Safety measures and procedures in the event of interfering activities:

- No activity may be conducted in such a way as to create risks to University users.

- In the event of interfering activities, the work (supply or service provision) shall be conducted during periods when University activities are suspended.

- In the event of work (supply or service provision) conducted in proximity to University activities, the working areas shall be duly fenced off and signed.

- In the event that, during the work, the Contractor (Supplier or Service Provider) or one of its employees should identify possible interference with University activities not indicated in this Document or in the attached documents, the Contractor shall immediately suspend work (operations or service provision) and inform the Manager of the ………….. Department / Section, who shall then coordinate activities.

********

MACRO-MAPPING OF SPECIFIC RISKS

(Assessed and Managed in the University Risk Assessment Document - DVR)

BX BUILDING, Room, XXX – …………………………………..…. DEPARTMENT / SECTION - Street Address: ……………………………

| HAZARDS | PRESENT | CONDUCT TO BE ADOPTED |
| --- | --- | --- |
| MOVING PARTS | YES - NO | - OBSERVE THE HAZARD SIGNAGE IN PLACE - KEEP AT A SAFE DISTANCE - DO NOT REMOVE GUARDS UNLESS SPECIFICALLY QUALIFIED - DO NOT USE START-UP DEVICES UNLESS SPECIFICALLY QUALIFIED |
| HIGH NOISE LEVELS | YES - NO | - WEAR PERSONAL EAR DEFENDERS IN ALL AREAS NOTIFIED AS HAVING NOISE LEVELS OF OVER 90bB(A) IF ADDITIONAL TESTS RESULING IN HIGH NOISE LEVELS ARE IN PROGRESS DURING WORK |
| ELECTRICAL INSTALLATIONS: cables, switchboards, etc. | YES - NO | - OBSERVE THE HAZARD SIGNAGE IN PLACE - DO NOT ACCESS SWITCHBOARDS UNLESS SPECIFICALLY QUALIFIED - DO NOT USE CONTROL PANEL SWITCHES - WITHOUT SPECIFIC AUTHORISATION FROM THE DEPARTMENT HEAD - AVOID ANY IMPACT OR CONTACT WITH CABLES AND CONNECTIONS NOT MECHANICALLY PROTECTED |
| ELECTROSTATIC CHARGES | YES - NO | - WEAR SAFETY SHOES WITH APPROPRIATE SOLES - WEAR SAFETY GLOVES SUITABLE FOR STATIC ELECTRICITY |
| MOVEMENT OF LOADS (OVERHEAD CRANES, FORKLIFTS) | YES - NO | - DO NOT WALK OR STAND UNDER SUSPENDED LOADS - DO NOT WALK THROUGH AREAS USED SOLELY FOR MOVEMENT OF LOADS - CLOSELY FOLLOW INSTRUCTIONS FROM PERSONNEL RESPONSIBLE FOR LOAD MOVEMENT - DO NOT USE LIFTING OR TRANSPORT EQUIPMENT BELONGING TO OTHERS WITHOUT PRIOR AUTHORISATION AND UNLESS QUALIFIED |
| TRANSIT AREAS | YES - NO | - AVOID TRANSIT IN THESE AREAS - TAKE SPECIAL CARE DURING TRANSIT THROUGH AREAS THAT ARE WET OR WHERE SUBSTANCE SPILLAGE HAS OCCURRED - WATCH OUT FOR POSSIBLE OBSTACLES THAT COULD CONSTITUTE A TRIPPING HAZARD |
| HOT PARTS | YES - NO | - DO NOT TOUCH - USE APPROPRIATE PPE (GLOVES) |
| PRESSURISED HYDRAULIC SYSTEM | YES - NO | - DO NOT TOUCH |
| HAZARDOUS PREPARATIONS AND SUBSTANCES | YES - NO | - USE APPROPRIATE PPE (GLOVES, GLASSES AND JACKETS) WHEN HANDLING - DO NOT TOUCH UNESS QUALIFIED |
| FLAMMABLE SUBSTANCES | YES - NO | - DO NOT USE EQUIPMENT THAT COULD CAUSE FIRE OUTBREAK - REDUCE THE FIRE LOAD |
| EXPLOSIVE SUBSTANCES | YES - NO | - USE ATEX-CERTIFICED EQUIPMENT |
| WORK MACHINERY AND EQUIPMENT | YES - NO | - USE APPROPRIATE PPE - DO NOT TOUCH |
| VIBRATIONS | YES - NO | - USE PPE - SET AND ADHERE TO WORKING TIMES AND FREQUENCIES |
| THERMAL STRESSES | YES - NO | - USE APPROPRIATE CLOTHING |
| IONISING RADIATION | YES - NO | - DO NOT ENTER THE AREA |
| NON-IONISING OPTICAL RADIATION | YES - NO | - USE APPROPRIATE PPE (GLASSES) |
| ELECTRIC AND MAGNETIC FIELDS | YES - NO | - SET AND ADHERE TO WORKING TIMES AND FREQUENCIES |

****

INTERFERENCE RISK ASSESSMENT

| HAZARDS | RISK | HAZARD | HARM | RISK | Type* | Improvements and Prevention and Protection Measures |
| --- | --- | --- | --- | --- | --- | --- |
| Uneven, slippery floors with obstacles | - Tripping - Slipping - Falling |  |  |  |  | Fence off hazardous areas, clean floors and sign the presence of obstacles or spillage areas. |
| Elevated areas, work at height | - Falling from height |  |  |  |  | Mark and fence off working areas appropriately. The working areas in which to prevent transit must take into account falling or projected elements from above. If the work prevents transit completely then prior notice must be given. Protection of working areas must also include protection of workers from falling. Use category 3 PPE where necessary. Use PPE such as gloves, safety shoes and hard hats. |
| Inadequate and unmarked working spaces | - Falling - Tripping - Collision |  |  |  |  | Mark off and sign the presence of obstacles. Coordinate adjacent activities. |
| Electrical installations | - Electrocution |  |  |  |  | Use of appropriate PPE, markings and signage. Use CE-marked equipment. Follow maintenance procedures. |
| Fire |  |  |  |  |  | In the event of a fire, follow emergency procedures. Reduce the fire load in at-risk areas. |
| Explosion |  |  |  |  |  | Use certified equipment in ATEX zones. |
| Chemical hazard* | - Inhalation - Contact |  |  |  |  | Please refer to the Chemical Risk Assessment Document for the ………….... Department / Section. |
| High-pressure oil systems | - Explosion - Noise - Spillage - Slipping - Falling |  |  |  |  | The system must be isolated during disassembly and reassembly operations. Do not permit external personnel to enter unsupervised areas. Sign the presence of high-pressure systems. |
| Compressed air system | - Explosion - Noise |  |  |  |  | Isolate the system during disassembly and reassembly operations. Do not permit external personnel to enter unsupervised areas. |
| Lifting apparatus | - Collision - Objects falling from above - Crushing |  |  |  |  | Use appropriate PE (gloves and hard hats) and coordinate movement activities. Sign the presence of suspended materials. Do not use the apparatus unless qualified. |
| - Machining equipment - Machine tools | - Collision - Cuts - Crushing - Abrasions - Amputations - Projection of materials - Burns |  |  |  |  | Use appropriate PPE (gloves and safety goggles). Do not approach the equipment/machines unless qualified. |
| - Testing machines | - Collision - Cuts - Crushing - Abrasions - Amputations |  |  |  |  | Use appropriate PPE (gloves and safety goggles). Do not approach working testing machines unless qualified to use them. |
| - Hand tools | - Cuts - Abrasions - Amputations |  |  |  |  | Use appropriate PPE (cut-resistant gloves and safety shoes). |
| Manual load handling | - Musculo-skeletal injuries |  |  |  |  | Use the NIOSH method to evaluate the maximum weight that may be handled. Use lifting equipment for handling of objects. |
| Transit by vehicles/forklifts in common areas and spaces | - Running over - Collision - Crushing |  |  |  |  | Maintain a low speed and pay the utmost attention during transit by vehicles, particularly when manoeuvring. For large vehicles, personnel must be present to stop vehicular and foot traffic during manoeuvring until the risk has been eliminated. Use the pedestrian walkways provided. |
| Work in common spaces and areas | Risks of various types. |  |  |  |  | Mark and appropriately fence off working areas. Sign working areas and any collision risks appropriately and in a clearly visible manner. Appropriately sign any alternative routes provided for University users. |
| Work in classrooms |  |  |  |  |  | The work must be carried out during breaks between lessons or on days when the University is closed. If the work should require several working days, the Safety Executive must be informed in order for lessons to be suspended. While the work is being performed, the entrances to the classroom must remain closed. |
| Delivery of materials | - Collision - Crushing - Running over |  |  |  |  | Coordinate material deliveries, mark off areas used for delivery, and sign the presence of moving vehicles. |
| Use of mechanical equipment for handling of materials | - Collision - Crushing - Running over |  |  |  |  | Sign the presence of moving vehicles. Use the pedestrian walkways provided. |
| Floors with plates for anchorage to the ground or covering of channels | - Falling - Tripping |  |  |  |  | During transit or movement of materials, pay the utmost attention to unevenness in the flooring which could cause tripping and falling. Sign the presence of hazards and obstacles. |
| Spaces restricted to activities and presence of sharp corners | - Collision - Cuts - Abrasions |  |  |  |  | During transit or movement of materials and assembly and disassembly operations, pay the utmost attention to equipment in the vicinity which could result in restricted work spaces with sharp metal corners present. Sign such hazards. Use appropriate PPE (gloves, hard hats and safety shoes). |
| Transport of personnel | - Collision - Injuries - Crushing |  |  |  |  | Follow the internal procedures. |
| Lighting | - Tripping - Collision |  |  |  |  | Increase the lighting level. |
| Microclimate - Humidity - Temperature - Air speed | Uncomfortable environment |  |  |  |  | Use appropriate clothing. Regulate the three factors affecting the microclimate in order to make the workspace comfortable. |
| Display screen | - Occupational diseases |  |  |  |  | Provide a 15-minute break every two working hours. |
| Mental stress | - Occupational diseases |  |  |  |  | Provide adequate breaks. |
| Physical workload | - Occupational diseases |  |  |  |  | Provide adequate breaks. |
| Biological agents |  |  |  |  |  | Use appropriate PPE (masks and individual respirators). Maintain the air conditioning system. |
| Mutagenic agents |  |  |  |  |  | Use appropriate PPE (masks and respirators). |
| Noise | - Hearing disorders |  |  |  |  | Assess the noise level and use appropriate PPE (noise-cancelling headphones or ear plugs). |
| - Hand-arm vibrations - Whole-body vibrations | - Musculo-skeletal injuries |  |  |  |  | Adhere to usage times and frequencies. |
| Ionising radiation | - Tumours - Burns |  |  |  |  | Use appropriate CPE and PPE, and follow the procedures for use of ionising radiation sources. |
| Non-ionising optical radiation | - Burns - Eye disorders |  |  |  |  | Use PPE (gloves and protective goggles). |
| Electromagnetic fields | - Occupational diseases |  |  |  |  | Adhere to exposure times and frequencies. |
| Insufficient definition and division of duties and assignment of responsibility |  |  |  |  |  | Define responsibilities with regard to occupational health and safety. Identify all officers by position and name. |
| Work-related stress | - Occupational diseases |  |  |  |  | Address the causes. |
| Insufficient maintenance |  |  |  |  |  | Ensure maintenance of all systems. |
| Absence or shortage of PPE |  |  |  |  |  | Purchase and provide adequate PPE for the task. |
| Absence of Contractor documentation |  |  |  |  |  | Do not begin work in the absence of all or part of the necessary documentation. |
| Absence of introduced risk information and coordination for drafting of the DUVRI Document. |  |  |  |  |  | Coordinate with the Contractor’s Project Manager. Prevent entry to the areas of the Politecnico di Milano in the absence of signed acceptance of the interference risk assessment Document. |

* S=Specific, I= Introduced

*******

TIMETABLE FOR ACTIVITIES AND INTERFERENCES

- Having regard to Art.s 17 and 26 of Italian Legislative Decree 81/08 and subsequent amendments, namely the Consolidated Law on Occupational Health and Safety (Testo unico sulla salute e sicurezza nei luoghi di lavoro);

- Having regard to the necessity of observing current health and safety regulations, in accordance with Art. 26 concerning coordination and cooperation between the project managers in the case of contracted works;

- Having regard to the activities to be conducted by the company XXX at the BX Building, Room XXX, of the …………………….. Department, located at ………………………, Milan, with reference to Order Voucher no. (or Test no. or Contract no.) XXX of XX/XX/20XX, (Tender Identification Code XXX);

IT IS HEREBY DECLARED

that, as per the timetable drawn up (week from XX/XX/20XX to XX/XX/20XX, from the hours of 8am to 9pm), during the XXX activities which shall take place at the building of the abovementioned ……………… Department / Section:

- There shall be no interference with other working activities, or spatial or temporal overlap of any kind, in the specified room.

- There shall be interfering activities, as listed in the table below.

In the event that, without prior notice of any kind, due to short-term unforeseen events or requirements, additional spatial or temporal working interferences should arise which could expose XXX’s personnel to specific risks, all work shall be suspended at the discretion of the Department Manager / Executive of the ……………….. Department / Section or coordinated in such a way as to eliminate temporal or spatial interferences.

(SPECIMEN TIMETABLE)

| TIMETABLE FOR ACTIVITIES AND INTERFERENCES |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| BXX BUILDING – ROOM XXX |  |  |  |  |  |  |  |
| Hours | XX/XX/20XX | XX/XX/20XX | XX/XX/20XX | XX/XX/20XX | XX/XX/20XX | XX/XX/20XX | XX/XX/20XX |
| 07:00 |  |  |  |  |  |  |  |
| 08:00 |  |  | Activity 1A | Activity 1C | Activities: 1C+3B |  |  |
| 09:00 |  |  | Activity 2A | Activity 1C |  |  |  |
| 10:00 |  |  | Activity 2B | Activities: 1A+2A |  |  |  |
| 11:00 |  |  | Activity 2B | Activities: 1A+2A |  |  |  |
| 12:00 |  |  | Activity 1C |  |  |  |  |
| 13:00 |  |  | Activity 1C |  |  |  |  |
| 14:00 |  |  | Activity 3A |  |  |  |  |
| 15:00 |  |  |  |  |  |  |  |
| 16:00 |  |  |  |  |  |  |  |
| 17:00 |  |  |  |  |  |  |  |
| 18:00 |  |  |  |  |  |  |  |
| 19:00 |  |  |  |  |  |  |  |
| 20:00 |  |  |  |  |  |  |  |

INSPECTION OF THE SITES

(Assumption by the Contractor (Supplier or Service Provider) of responsibility for accident prevention and hygiene at the work sites)

The Contractor, with reference to the Contract in question, having viewed the documents duly drawn up prior and subsequently to the inspection whose report (APPENDIX 1) has been signed, hereby declares under its own responsibility:

- to have taken careful note of the condition of the sites where its employees shall conduct the contracted work;

- to release the Client of any responsibility with regard to shortfalls, during performance of the work, in relation to current legal provisions on accident prevention or hygiene in the workplace;

- to release the Client from any responsibility with regard to shortfalls concerning the above-mentioned current legal provisions in relation to any subcontractors to whom the Contractor should assign part of the contracted work subject to obligatory authorisation from the Client.

| NAMES OF PERSONS WHO WILL BE ENTERING THE SITES |  |  |
| --- | --- | --- |
| Name | Municipality of Residence | ID Card No. |
| Name |  | Passport No. |

GENERAL PROVISIONS

The Contractor (Supplier or Service Provider) fulfilling the Contract in question, having been made aware of the risks existing at the buildings and premises in general of the Politecnico di Milano, in order to avoid accidents involving its employees, third parties or the Politecnico di Milano’s own personnel (as well as damage to property), hereby pledges:

- to make the necessary arrangements with the relevant Technical Services of the …………. Department / Section. In particular, the company entrusted with performance of the work (works, supply and installation or service provision) in question shall ensure, before commencing any operations, that the work shall not affect the normal running of the Politecnico di Milano;

- to provide a list of the names of its employees and operatives who will be working on the Politecnico di Milano's premises. The said list of persons, who shall be duly ensured by the Contractor (Supplier or Service Provider) against all risks, including specific ones, shall indicate a contact manager;

- to promptly indicate the necessity of and promote, in accordance with the instructions already provided by the Client, all coordination and cooperation necessary in order to eliminate any interference risks that should arise during fulfilment of the contract;

- to take full responsibility for any accidents or damage to property that should occur during its work and, therefore, to arrange and implement all measures and precautions necessitated by the nature of the work carried out, as well as to observe all legal provisions on accident prevention and hygiene in the workplace and those that the Politecnico di Milano or its designated safety manager should consider it necessary to establish;

- to obtain equipment appropriate to the work to be performed, in compliance with the legal provisions on accident prevention and, in any case, necessary in order to ensure safety;

- not to use transport or lifting vehicles, electrical equipment, portable or aerial ladders, scaffolding, machines, tools or objects of any kind belonging to the Politecnico di Milano without authorisation from the relevant contact person;

- to use exclusively, for work involving use of equipment requiring specific technical skills, appropriately trained and qualified personnel in possession of the necessary skills and demonstrating the necessary care and attention, in order to avoid accidents due to carelessness, recklessness or negligence;

- to strictly exclude the use of incorrect installations, set-ups or tools of any kind;

- to follow all instructions of prohibition and conduct displayed at the Politecnico di Milano in the form of notices, posters, placards and signs of various kinds and to observe the instructions provided by the Politecnico di Milano's technical managers;

- once the work is complete, to immediately ensure that the area in question is left completely free and clear of materials of any kind and anything else that could impede the normal running of the Politecnico di Milano or create hazardous situations;

- to take, in general, all precautions and technical measures necessary to prevent accidents, even where not specifically mentioned in the above examples;

- to avoid the dispersion of substances of any kind on the ground, into the company’s sewerage system or into the atmosphere without prior notification and subsequent authorisation from the ………….. Department / Section and the Department Manager.

The Contractor (Supplier or Service Provider) to whom the contract (work or service provision) in question is entrusted hereby grants the Politecnico di Milano, without this constituting a waiver of liability, the right to verify through its personnel the precise fulfilment of the commitments pursuant to the above paragraphs and, subsequently, to take appropriate steps at the said Contractor's (Supplier or Service Provider's) cost and, where required, to suspend the work in progress if the necessary safety precautions are not being taken. The Contractor (Supplier or Service Provider) therefore pledges to observe the foregoing through its executives, supervisors and workers, who it shall inform of the above provisions and of the obligation to observe them.

********

While carrying out contracted (or subcontracted) work, self-employed workers and/or personnel employed by the Contractor (Supplier or Service Provider) or Subcontractor shall be:

- provided with an appropriate photographic identification card displaying the details of the worker and his/her employer (Art. 20, Paragraph c. 3 and Art. 26, Paragraph c. 8 of Italian Legislative Decree 81/08).

Milan, XX/XX/20XX

DEPARTMENT MANAGER / EXECUTIVE OF THE ………… DEPARTMENT / SECTION

(Title, Name and Surname)

Stamp and Signature

THE CLIENT

(Title, Name and Surname)

Stamp and Signature

THE CONTRACTOR, SUPPLIER or SERVICE PROVIDER

(Title, Name and Surname)

Stamp and Signature

(N.B. All pages of this Document and its Appendices must be signed and stamped)

Appendices:

- Appendix 1: Inspection Report

- Appendix 2: Simplified Procedures in the Event of an Emergency

- Appendix 3: Working Area Floor Plan

- Appendix 4: Risk Assessment Criteria

APPENDIX 1

INSPECTION REPORT

In relation to the assignment received from the company ______________________, to be carried out at the buildings of the ………………… Department / Section, Politecnico di Milano, BX Building – Room XXX, street address: ……………………., the work pursuant to the separate standard contract signed,

I, the undersigned ____________________________, in the capacity of owner/employee of the company _________________________,

hereby declare

- That I have, today, XX/XX/201X, accompanied by the Engineer _______________________, representative of the ………………. Department / Section, carried out a prior inspection of the sites where the said work is to be performed, in order to inform myself as to the specific risks existing there and the prevention, protection and emergency measures adopted pursuant to Art. 26, Paragraph 1, Letter b) of Italian Legislative Decree 81/08 (see Appendix 2);

- That, during the said inspection, I learned of additional potential risks associated with the presence of:

- Live electrical installations

- Pipes, electrical cables and ground distribution turrets

- Parts of metal structures, sharp corners

- Parts of the pressurised hydraulic system

- Uneven floors or floors with plates and channels

- Restricted spaces

- Working areas marked off by chains

- My commitment, in turn, to inform my employees of the above-mentioned risks assessed in the DUVRI Document and of the prevention, protection and emergency measures, in accordance with Art. 18 of Italian Legislative Decree 81/08.

- That I am aware of current legislation on safety in the workplace, which I shall observe and ensure that my personnel observe during performance of the work together with all other precautions or measures that may be required in order to prevent accidents or damaging events.

For example, the said precautions or measures concern:

- The prohibition from removing or altering safety devices and/or guards installed on systems or machines;

- The obligation to fence off areas of excavation or beneath work taking place in elevated positions;

- The prohibition of workers from performing, on their own initiative, manoeuvres or operations outside their area of responsibility or which could compromise the safety of others;

- The obligation to observe regulation or warning notices displayed;

- The prohibition from performing welding, using naked flames or smoking in sites at risk of fire (or in any other site where the said activities are prohibited);

- The obligation to use personal protective equipment;

- The prohibition from obstructing passages, hallways or emergency exits with materials of any kind;

- The obligation to use machines, tools and implements that comply with current legal provisions;

- The prohibition from performing any task (cleaning, repairs, adjustments, etc.) on moving parts;

- The obligation to use clothing in the workplace which, in view of the nature of the tasks to be performed, do not pose a hazard to the wearer;

- The prohibition from passing beneath suspended loads;

- The obligation for workers to immediately report any deficiencies in safety devices or hazardous conditions (endeavouring directly, in an emergency or within the scope of their areas of responsibility and abilities, to eliminate the said deficiencies or hazards);

- The prohibition from entering electrical substations without specific authorisation;

- The prohibition of workers from remaining on sites other than those where they are required to perform their work;

- The prohibition from making alterations of any kind to machines or installations without prior authorisation from the Safety Manager, Mr Alessandro Tosi;

- The obligation, where it is necessary to cut power to installation parts undergoing repair or overhaul, to visually check that the person assigned has performed the task and displayed the appropriate sign.

- That I am aware of and shall observe and ensure that my employees observe all general, administrative, safety and emergency management regulations in force on the premises.

Milan, __________

___________________________

APPENDIX 2

SIMPLIFIED PROCEDURES IN THE EVENT OF AN EMERGENCY

Fire

Guidelines for Survival

- In the event of a fire alarm, anyone not responsible for emergency management must avoid opening doors behind which they suspect that there may be a fire.

- If obliged to do so because the door in question leads to the established emergency escape route, s/he must only open the door a crack before passing through, holding the door handle tightly in readiness to close it in the event of violent flames or smoke coming through.

- If the person in question is trapped due to the evacuation routes being blocked or impassable or due to the presence of excessive smoke which would impede breathing even through a cloth while passing through the escape route, his/her safety may only be ensured by waiting as long as possible for external rescuers while remaining calm and observing the following procedures:

  - close yourself in a room, preferably one with windows facing out of the building and as far as possible from the source of the risk, closing any doors in between (but not locking them as this would slow the arrival of rescuers);

  - using cloth (including that of clothing) or another material, try to seal cracks through which smoke could penetrate;

  - if water is available, wet the material you have used to seal the door and keep it damp;

  - if portable fire extinguishers are available, keep them ready to use on the door if it should catch fire;

  - sound the alarm by telephone, intercom and then voice, attempting to indicate your location;

  - try to seal air entry holes using any material (preferably cloth) which could enable the fire and smoke to spread;

  - if the room has windows, stand next to them so that you can be seen. You must also indicate your presence in the room by leaving, where possible, a signal in the hallway or on the outside of the door;

  - if you are unable to leave the room, lie on your back on the floor and await the arrival of rescuers, attempting to remain calm in order to avoid increased heart rate or excessive oxygen use;

  - find a blunt object and use it to make a slow but rhythmic noise in order to assist rescuers in locating you;

  - breathe through a cloth if smoke is present.

- Anyone discovering an emergency situation (fire, smoke, medical emergency, etc.) is obliged to take action in order to report the event.

The possible reporting methods are:

- In the event of a fire: activating the fire alarm using the buttons positioned in the building, or telephoning the numbers show below;

- In the event of a medical emergency: calling the telephone numbers shown below.

- If the alarm should cease to sound within one minute without restarting and is not followed by verbal instructions from the fire officers, the emergency situation may be considered resolved.

- In the event of loss of electrical power, even if the alarm does not sound, anyone located in places such as, for example, the toilets or below ground level must promptly head for the evacuation routes.

- In the event of an alarm sounding and not ceasing within one minute, stop whatever you are doing, leave the telephone lines free, switch off (where possible) any equipment for which you are responsible and then proceed with evacuation of the building, following instructions from the appointed personnel or using the evacuation routes marked on the floor plans.

- In the event of an evacuation order, use of all electrically operated equipment such as lifts and service elevators is prohibited.

- Upon a general evacuation order: all personnel must proceed in an orderly fashion via the established evacuation routes to the safe meeting point (outside the building), closing but not locking the doors behind them, having checked that the last person has left the premises.

- Evacuation must, in any case, take place calming and without running. If someone should start to panic, they must be calmed and reassured, taken by the hand and led to the exits.

- In the presence of smoke, evacuation must take place while walking stooped and breathing through a cloth (preferably a wet one).

- In the event of evacuation, it may be necessary to wait on the landings to allow people on the lower floors, who have precedence during evacuation, to move out of the way. In any case, it is pointless and dangerous to push, crowd or join other evacuation flows as this would slow the speed of the evacuation.

- The speed of evacuation is greater than that of the spread of fire, so the stairway area may be considered relatively safe for the time it takes to complete the evacuation in an orderly fashion.

- Once any problems caused by the state of emergency have been resolved, the coordinator will announce that the emergency is over, and only then may the personnel involved resume their previously interrupted work.

| Call Centre | Emergency Telephone Number 9399 |
| --- | --- |
| …………………… Front Desk | ………………. |
| …………………… Front Desk | ………………. |
| …………………… Front Desk | ………………. |
| …………………… Front Desk | ………………. |
| Prevention and Protection Service | 9451 |
| Department / Section PPS Officer | …………. …………. Mob.: …………………………. |
| Head of Prevention and Protection Service – Claudio Corioni | 9450 |
| Fire Service | 112 (dialling 0 first from an internal telephone) 115 (dialling 0 first from an internal telephone) |
| Medical emergency | 112 (dialling 0 first from an internal telephone) 118 (dialling 0 first from an internal telephone) |

First Aid Situations

INFORM the BUILDING'S FIRST AID OFFICERS

| Name and Surname | Tel. …………………… | Premises |
| --- | --- | --- |

IF APPLICABLE, CONTACT THE EXTERNAL EMERGENCY SERVICES ON

118 from a mobile telephone, or

0118 from a landline within the Politecnico di Milano

COMMUNICATING AS PER THE EMERGENCY MANAGEMENT PROCEDURE

REMEMBERING NOT TO HANG UP

but to keep the line free for any

SUBSEQUENT CONTACT FROM THE RESPONSE CENTRE

- CONTACT THE CENTRAL FRONT DESK (entrance at street address: ……………………….)

- Tel. ………. to advise of the location and details of the emergency.

If assistance from external emergency services is required:

1) CALL 118 (from a mobile telephone) or 0118 (from an internal landline)

*always dialling ZERO first from Politecnico di Milano telephones (for an external call), and clearly communicate the following:

- “Sono” (My name is): name and surname

- “Telefono da” (I am calling from): “Politecnico di Milano, Campus ……….” (………. Campus), “Edificio ……….” (……… Building)

- “Al seguente indirizzo” (At the following address): “Milano” (Milan), street address: ………………………..

- Telephone number from which you are calling (Numero di telefono dal quale sto chiamando)

- Situation: brief description of the condition and number of people requiring assistance

Do not end the conversation until the operator has repeated the exact address of the location of the emergency.

Allow the 118 operator to support you: s/he will give you full instructions on how to proceed. The 118 service will assess the situation, provide you with appropriate instructions and send any assistance required.

2) WHAT TO TELL THE FRONT DESK PERSONNEL

Advise the receptionist at the front desk (entrance at street address: ……………….., tel. …………..) of the arrival, if applicable, of the ambulance due to an emergency situation on the ……………… premises, on the …. floor, in the …. office or laboratory.

In order to facilitate the arrival of the emergency services, it is essential that you give the same information you gave to the 118 operator.

Keep the telephone from which you called 118 free to enable the response centre to call you back.

The receptionist must ensure that the access route to the location that the emergency services need to reach is free from obstacles and well-lit.

APPENDIX 3: WORKING AREA FLOOR PLAN

APPENDIX 4

RISK ASSESSMENT CRITERIA

Risks are quantified and classified through estimation of the extent of exposure and the severity of the effects. Risk R is viewed as a product of the Probability P of occurrence multiplied by the severity of the Harm H:

R = P x H

Occurrence Probability Scale used:

| Level | Criteria | Assigned Value |
| --- | --- | --- |
| Improbable | No past episodes are known. The anomaly to be eliminated could only cause harm in conjunction with low-probability independent events. | 1 |
| Low-probability | The anomaly to be eliminated could only cause harm in an unfortunate chain of events. | 2 |
| Probable | The anomaly to be eliminated could cause harm, although not automatically and/or directly. Some past episodes are known in which the anomaly has been followed by the occurrence of harm. | 3 |
| High-probability | A direct relationship exists between the anomaly to be eliminated and the occurrence of the hypothesised harm. Harm has occurred as a result of the anomaly detected on the premises under inspection, on other similar ones or in similar working situations. | 4 |

The Severity of the Harm is quantified based on the reversibility or irreversibility of the harm.

Below is the Harm Severity Scale:

| Level | Criteria | Assigned Value |
| --- | --- | --- |
| Minor | Accident or episode of acute exposure with brief and quickly reversible temporary incapacity. Prolonged exposure with quickly reversible effects. | 1 |
| Moderate | Accident or episode of acute exposure with extended but reversible temporary incapacity. Prolonged exposure with reversible effects. | 2 |
| Significant | Accident or episode of acute exposure with permanent partial disability. Prolonged exposure with irreversible and/or partially disabling effects. | 3 |
| Severe | Accident or episode of acute exposure with lethal or completely disabling effects. Prolonged exposure with lethal and/or completely disabling effects. | 4 |

By combining the two scales, it is possible to obtain the Risk Matrix, in which each box corresponds to a particular combination of harm probability and severity.

Below are the values for each degree of risk found:

| Risk Level | Assigned Value |
| --- | --- |
| Very Low | R=1 |
| Low | 2≤R≤3 |
| Medium | 4≤R<8 |
| High | R≥8 |